## Calculator
Residential CO2 Footprint Calculator
Enter the blue cells (dropdowns). Lifecycle basis: combustion + upstream (well-to-tank). Results update in Excel / LibreOffice. Expanded from original (QC/ON/AB/BC + CO/MI/NY/WA) to ALL 13 Canadian provinces/territories and ALL 51 US states + DC. See cell D5 for valid jurisdiction codes.
INPUTS
Jurisdiction (province/state) | NY | AB AK AL AR AZ BC CA CO CT DC DE FL GA HI IA ID IL IN KS KY LA MA MB MD ME MI MN MO MS MT NB NC ND NE NH NJ NL NM NS NT NU NV NY OH OK ON OR PA PE QC RI SC SD SK TN TX UT VA VT WA WI WV WY YT PR VI (type any valid code in B5)
Dwelling vintage | 1960-1983 | pre-1960 / 1960-1983 / 1984-1999 / 2000+
Dwelling type | attached | detached / attached / apartment
Floor area (heated) | 1600 | number
Area units | ft2 | m2 or ft2
Space heating system | Electric heat pump | ...or Don't know (country-average mix)
Water heating system | Electric | ...or Don't know (country-average mix)
Air conditioning? | Yes | Yes / No
Household size (people) | 3 | 1 / 2 / 3 / 4 / 5 / 6+
Windows/insulation significantly upgraded? | No | Yes / No / Unsure (Yes = -15% heating & cooling demand)
Heat-pump backup heat source | Electric | Electric / Natural gas / Oil or propane / None / Don't know (only used if space heating = Electric heat pump)
INTERMEDIATE
Floor area (m2)
Vintage key
Dwelling key
Grid factor (kg CO2e/GJ, delivered, lifecycle)
Envelope factor (type)
Other-elec size factor
Retrofit factor (windows/insulation)
RESULTS (kg CO2e / year, lifecycle) |  |  | HEAT-PUMP BACKUP DETAIL (used only when space heating = Electric heat pump)
End use | kg CO2e/yr | Energy (GJ/yr) and fuel | Backup source
Space heating |  |  | HP load fraction (f_hp)
Water heating |  |  | HP operating COP
Air conditioning |  |  | Backup furnace efficiency
Other electricity (appliances, lighting, plug) |  |  | Backup fuel EF (kg CO2e/GJ)
TOTAL (kg CO2e/yr) |  |  | HP electricity (GJ)
TOTAL (tonnes CO2e/yr) |  |  | Backup fuel (GJ)
Intensity (kg CO2e/m2/yr) |  |  | HP+backup emissions (kg CO2e/yr)
Intensity (kg CO2e/ft2/yr)

## P_Heating
key | D_GJ_per_m2
QC¦pre-1960 | 0.85
QC¦1960-1983 | 0.65
QC¦1984-1999 | 0.45
QC¦2000+ | 0.34
ON¦pre-1960 | 0.85
ON¦1960-1983 | 0.55
ON¦1984-1999 | 0.4
ON¦2000+ | 0.33
AB¦pre-1960 | 0.9
AB¦1960-1983 | 0.65
AB¦1984-1999 | 0.45
AB¦2000+ | 0.36
BC¦pre-1960 | 0.55
BC¦1960-1983 | 0.4
BC¦1984-1999 | 0.3
BC¦2000+ | 0.22
MB¦pre-1960 | 0.97
MB¦1960-1983 | 0.7
MB¦1984-1999 | 0.49
MB¦2000+ | 0.39
SK¦pre-1960 | 0.92
SK¦1960-1983 | 0.66
SK¦1984-1999 | 0.46
SK¦2000+ | 0.37
NS¦pre-1960 | 0.81
NS¦1960-1983 | 0.52
NS¦1984-1999 | 0.38
NS¦2000+ | 0.31
NB¦pre-1960 | 0.85
NB¦1960-1983 | 0.58
NB¦1984-1999 | 0.42
NB¦2000+ | 0.33
NL¦pre-1960 | 0.78
NL¦1960-1983 | 0.6
NL¦1984-1999 | 0.42
NL¦2000+ | 0.31
PE¦pre-1960 | 0.81
PE¦1960-1983 | 0.52
PE¦1984-1999 | 0.38
PE¦2000+ | 0.31
YT¦pre-1960 | 1.24
YT¦1960-1983 | 0.89
YT¦1984-1999 | 0.62
YT¦2000+ | 0.49
NT¦pre-1960 | 1.5
NT¦1960-1983 | 1.08
NT¦1984-1999 | 0.75
NT¦2000+ | 0.6
NU¦pre-1960 | 1.85
NU¦1960-1983 | 1.34
NU¦1984-1999 | 0.93
NU¦2000+ | 0.74
CO¦pre-1960 | 0.314
CO¦1960-1983 | 0.279
CO¦1984-1999 | 0.247
CO¦2000+ | 0.199
MI¦pre-1960 | 0.46
MI¦1960-1983 | 0.357
MI¦1984-1999 | 0.289
MI¦2000+ | 0.267
NY¦pre-1960 | 0.331
NY¦1960-1983 | 0.32
NY¦1984-1999 | 0.261
NY¦2000+ | 0.217
WA¦pre-1960 | 0.278
WA¦1960-1983 | 0.247
WA¦1984-1999 | 0.233
WA¦2000+ | 0.182
AL¦pre-1960 | 0.191
AL¦1960-1983 | 0.163
AL¦1984-1999 | 0.141
AL¦2000+ | 0.111
AK¦pre-1960 | 0.975
AK¦1960-1983 | 0.8
AK¦1984-1999 | 0.65
AK¦2000+ | 0.595
AZ¦pre-1960 | 0.118
AZ¦1960-1983 | 0.093
AZ¦1984-1999 | 0.064
AZ¦2000+ | 0.052
AR¦pre-1960 | 0.279
AR¦1960-1983 | 0.248
AR¦1984-1999 | 0.233
AR¦2000+ | 0.182
CA¦pre-1960 | 0.118
CA¦1960-1983 | 0.093
CA¦1984-1999 | 0.064
CA¦2000+ | 0.052
CT¦pre-1960 | 0.339
CT¦1960-1983 | 0.322
CT¦1984-1999 | 0.263
CT¦2000+ | 0.22
DE¦pre-1960 | 0.307
DE¦1960-1983 | 0.273
DE¦1984-1999 | 0.244
DE¦2000+ | 0.196
FL¦pre-1960 | 0.06
FL¦1960-1983 | 0.045
FL¦1984-1999 | 0.03
FL¦2000+ | 0.025
GA¦pre-1960 | 0.267
GA¦1960-1983 | 0.236
GA¦1984-1999 | 0.221
GA¦2000+ | 0.173
HI¦pre-1960 | 0.028
HI¦1960-1983 | 0.021
HI¦1984-1999 | 0.014
HI¦2000+ | 0.011
ID¦pre-1960 | 0.314
ID¦1960-1983 | 0.279
ID¦1984-1999 | 0.247
ID¦2000+ | 0.199
IL¦pre-1960 | 0.379
IL¦1960-1983 | 0.334
IL¦1984-1999 | 0.271
IL¦2000+ | 0.236
IN¦pre-1960 | 0.358
IN¦1960-1983 | 0.328
IN¦1984-1999 | 0.267
IN¦2000+ | 0.227
IA¦pre-1960 | 0.495
IA¦1960-1983 | 0.388
IA¦1984-1999 | 0.311
IA¦2000+ | 0.287
KS¦pre-1960 | 0.311
KS¦1960-1983 | 0.277
KS¦1984-1999 | 0.246
KS¦2000+ | 0.198
KY¦pre-1960 | 0.306
KY¦1960-1983 | 0.272
KY¦1984-1999 | 0.244
KY¦2000+ | 0.195
LA¦pre-1960 | 0.088
LA¦1960-1983 | 0.067
LA¦1984-1999 | 0.044
LA¦2000+ | 0.036
ME¦pre-1960 | 0.585
ME¦1960-1983 | 0.469
ME¦1984-1999 | 0.368
ME¦2000+ | 0.34
MD¦pre-1960 | 0.306
MD¦1960-1983 | 0.272
MD¦1984-1999 | 0.244
MD¦2000+ | 0.195
MA¦pre-1960 | 0.364
MA¦1960-1983 | 0.33
MA¦1984-1999 | 0.268
MA¦2000+ | 0.23
MN¦pre-1960 | 0.622
MN¦1960-1983 | 0.501
MN¦1984-1999 | 0.391
MN¦2000+ | 0.361
MS¦pre-1960 | 0.135
MS¦1960-1983 | 0.109
MS¦1984-1999 | 0.082
MS¦2000+ | 0.066
MO¦pre-1960 | 0.311
MO¦1960-1983 | 0.276
MO¦1984-1999 | 0.246
MO¦2000+ | 0.198
MT¦pre-1960 | 0.521
MT¦1960-1983 | 0.412
MT¦1984-1999 | 0.328
MT¦2000+ | 0.303
NE¦pre-1960 | 0.423
NE¦1960-1983 | 0.346
NE¦1984-1999 | 0.281
NE¦2000+ | 0.252
NV¦pre-1960 | 0.305
NV¦1960-1983 | 0.271
NV¦1984-1999 | 0.243
NV¦2000+ | 0.195
NH¦pre-1960 | 0.509
NH¦1960-1983 | 0.4
NH¦1984-1999 | 0.32
NH¦2000+ | 0.295
NJ¦pre-1960 | 0.311
NJ¦1960-1983 | 0.276
NJ¦1984-1999 | 0.246
NJ¦2000+ | 0.198
NM¦pre-1960 | 0.31
NM¦1960-1983 | 0.276
NM¦1984-1999 | 0.246
NM¦2000+ | 0.197
NC¦pre-1960 | 0.287
NC¦1960-1983 | 0.255
NC¦1984-1999 | 0.236
NC¦2000+ | 0.186
ND¦pre-1960 | 0.635
ND¦1960-1983 | 0.513
ND¦1984-1999 | 0.401
ND¦2000+ | 0.37
OH¦pre-1960 | 0.356
OH¦1960-1983 | 0.327
OH¦1984-1999 | 0.266
OH¦2000+ | 0.227
OK¦pre-1960 | 0.283
OK¦1960-1983 | 0.251
OK¦1984-1999 | 0.235
OK¦2000+ | 0.184
OR¦pre-1960 | 0.288
OR¦1960-1983 | 0.256
OR¦1984-1999 | 0.237
OR¦2000+ | 0.187
PA¦pre-1960 | 0.352
PA¦1960-1983 | 0.326
PA¦1984-1999 | 0.266
PA¦2000+ | 0.225
RI¦pre-1960 | 0.358
RI¦1960-1983 | 0.328
RI¦1984-1999 | 0.267
RI¦2000+ | 0.227
SC¦pre-1960 | 0.191
SC¦1960-1983 | 0.163
SC¦1984-1999 | 0.141
SC¦2000+ | 0.111
SD¦pre-1960 | 0.512
SD¦1960-1983 | 0.403
SD¦1984-1999 | 0.322
SD¦2000+ | 0.297
TN¦pre-1960 | 0.293
TN¦1960-1983 | 0.261
TN¦1984-1999 | 0.239
TN¦2000+ | 0.189
TX¦pre-1960 | 0.102
TX¦1960-1983 | 0.079
TX¦1984-1999 | 0.051
TX¦2000+ | 0.042
UT¦pre-1960 | 0.373
UT¦1960-1983 | 0.332
UT¦1984-1999 | 0.27
UT¦2000+ | 0.233
VT¦pre-1960 | 0.589
VT¦1960-1983 | 0.472
VT¦1984-1999 | 0.37
VT¦2000+ | 0.342
VA¦pre-1960 | 0.299
VA¦1960-1983 | 0.266
VA¦1984-1999 | 0.241
VA¦2000+ | 0.192
WV¦pre-1960 | 0.358
WV¦1960-1983 | 0.328
WV¦1984-1999 | 0.267
WV¦2000+ | 0.227
WI¦pre-1960 | 0.496
WI¦1960-1983 | 0.389
WI¦1984-1999 | 0.312
WI¦2000+ | 0.288
WY¦pre-1960 | 0.482
WY¦1960-1983 | 0.377
WY¦1984-1999 | 0.303
WY¦2000+ | 0.28
DC¦pre-1960 | 0.307
DC¦1960-1983 | 0.273
DC¦1984-1999 | 0.244
DC¦2000+ | 0.196
PR¦pre-1960 | 0.01
PR¦1960-1983 | 0.007
PR¦1984-1999 | 0.005
PR¦2000+ | 0.004
VI¦pre-1960 | 0.01
VI¦1960-1983 | 0.007
VI¦1984-1999 | 0.005
VI¦2000+ | 0.004
Space-heating useful heat demand D (GJ per m² per year). CA (QC/ON/AB/BC): NRCan CEUD Table 33 (2023); others estimated by HDD analogy. US: EIA RECS 2020 state×vintage, gas-consumed × 0.85 fleet AFUE; new states estimated by HDD interpolation (base 18°C).

## P_Cooling
key | cool_GJ_per_m2
QC¦pre-1960 | 0.053
QC¦1960-1983 | 0.041
QC¦1984-1999 | 0.029
QC¦2000+ | 0.024
ON¦pre-1960 | 0.043
ON¦1960-1983 | 0.033
ON¦1984-1999 | 0.023
ON¦2000+ | 0.019
AB¦pre-1960 | 0.009
AB¦1960-1983 | 0.007
AB¦1984-1999 | 0.005
AB¦2000+ | 0.004
BC¦pre-1960 | 0.029
BC¦1960-1983 | 0.023
BC¦1984-1999 | 0.016
BC¦2000+ | 0.013
MB¦pre-1960 | 0.042
MB¦1960-1983 | 0.033
MB¦1984-1999 | 0.023
MB¦2000+ | 0.019
SK¦pre-1960 | 0.015
SK¦1960-1983 | 0.012
SK¦1984-1999 | 0.008
SK¦2000+ | 0.006
NS¦pre-1960 | 0.028
NS¦1960-1983 | 0.022
NS¦1984-1999 | 0.015
NS¦2000+ | 0.012
NB¦pre-1960 | 0.03
NB¦1960-1983 | 0.023
NB¦1984-1999 | 0.016
NB¦2000+ | 0.013
NL¦pre-1960 | 0.012
NL¦1960-1983 | 0.01
NL¦1984-1999 | 0.007
NL¦2000+ | 0.005
PE¦pre-1960 | 0.025
PE¦1960-1983 | 0.019
PE¦1984-1999 | 0.013
PE¦2000+ | 0.011
YT¦pre-1960 | 0.002
YT¦1960-1983 | 0.002
YT¦1984-1999 | 0.001
YT¦2000+ | 0.001
NT¦pre-1960 | 0.002
NT¦1960-1983 | 0.002
NT¦1984-1999 | 0.001
NT¦2000+ | 0.001
NU¦pre-1960 | 0.002
NU¦1960-1983 | 0.002
NU¦1984-1999 | 0.001
NU¦2000+ | 0.001
CO¦pre-1960 | 0.042
CO¦1960-1983 | 0.029
CO¦1984-1999 | 0.027
CO¦2000+ | 0.024
MI¦pre-1960 | 0.043
MI¦1960-1983 | 0.036
MI¦1984-1999 | 0.02
MI¦2000+ | 0.018
NY¦pre-1960 | 0.063
NY¦1960-1983 | 0.06
NY¦1984-1999 | 0.041
NY¦2000+ | 0.029
WA¦pre-1960 | 0.05
WA¦1960-1983 | 0.033
WA¦1984-1999 | 0.022
WA¦2000+ | 0.019
AL¦pre-1960 | 0.144
AL¦1960-1983 | 0.111
AL¦1984-1999 | 0.081
AL¦2000+ | 0.066
AK¦pre-1960 | 0.013
AK¦1960-1983 | 0.01
AK¦1984-1999 | 0.007
AK¦2000+ | 0.006
AZ¦pre-1960 | 0.123
AZ¦1960-1983 | 0.095
AZ¦1984-1999 | 0.069
AZ¦2000+ | 0.057
AR¦pre-1960 | 0.129
AR¦1960-1983 | 0.099
AR¦1984-1999 | 0.072
AR¦2000+ | 0.059
CA¦pre-1960 | 0.049
CA¦1960-1983 | 0.038
CA¦1984-1999 | 0.027
CA¦2000+ | 0.023
CT¦pre-1960 | 0.056
CT¦1960-1983 | 0.043
CT¦1984-1999 | 0.031
CT¦2000+ | 0.026
DE¦pre-1960 | 0.072
DE¦1960-1983 | 0.055
DE¦1984-1999 | 0.04
DE¦2000+ | 0.033
FL¦pre-1960 | 0.211
FL¦1960-1983 | 0.162
FL¦1984-1999 | 0.118
FL¦2000+ | 0.097
GA¦pre-1960 | 0.139
GA¦1960-1983 | 0.107
GA¦1984-1999 | 0.078
GA¦2000+ | 0.064
HI¦pre-1960 | 0.191
HI¦1960-1983 | 0.147
HI¦1984-1999 | 0.107
HI¦2000+ | 0.088
ID¦pre-1960 | 0.046
ID¦1960-1983 | 0.035
ID¦1984-1999 | 0.026
ID¦2000+ | 0.021
IL¦pre-1960 | 0.083
IL¦1960-1983 | 0.064
IL¦1984-1999 | 0.046
IL¦2000+ | 0.038
IN¦pre-1960 | 0.077
IN¦1960-1983 | 0.059
IN¦1984-1999 | 0.043
IN¦2000+ | 0.035
IA¦pre-1960 | 0.074
IA¦1960-1983 | 0.057
IA¦1984-1999 | 0.041
IA¦2000+ | 0.034
KS¦pre-1960 | 0.095
KS¦1960-1983 | 0.073
KS¦1984-1999 | 0.053
KS¦2000+ | 0.044
KY¦pre-1960 | 0.099
KY¦1960-1983 | 0.076
KY¦1984-1999 | 0.055
KY¦2000+ | 0.046
LA¦pre-1960 | 0.171
LA¦1960-1983 | 0.132
LA¦1984-1999 | 0.096
LA¦2000+ | 0.079
ME¦pre-1960 | 0.041
ME¦1960-1983 | 0.032
ME¦1984-1999 | 0.023
ME¦2000+ | 0.019
MD¦pre-1960 | 0.081
MD¦1960-1983 | 0.062
MD¦1984-1999 | 0.045
MD¦2000+ | 0.037
MA¦pre-1960 | 0.055
MA¦1960-1983 | 0.042
MA¦1984-1999 | 0.031
MA¦2000+ | 0.025
MN¦pre-1960 | 0.054
MN¦1960-1983 | 0.042
MN¦1984-1999 | 0.03
MN¦2000+ | 0.025
MS¦pre-1960 | 0.151
MS¦1960-1983 | 0.116
MS¦1984-1999 | 0.085
MS¦2000+ | 0.069
MO¦pre-1960 | 0.098
MO¦1960-1983 | 0.075
MO¦1984-1999 | 0.055
MO¦2000+ | 0.045
MT¦pre-1960 | 0.031
MT¦1960-1983 | 0.024
MT¦1984-1999 | 0.017
MT¦2000+ | 0.014
NE¦pre-1960 | 0.086
NE¦1960-1983 | 0.066
NE¦1984-1999 | 0.048
NE¦2000+ | 0.04
NV¦pre-1960 | 0.077
NV¦1960-1983 | 0.059
NV¦1984-1999 | 0.043
NV¦2000+ | 0.035
NH¦pre-1960 | 0.044
NH¦1960-1983 | 0.034
NH¦1984-1999 | 0.025
NH¦2000+ | 0.02
NJ¦pre-1960 | 0.065
NJ¦1960-1983 | 0.05
NJ¦1984-1999 | 0.036
NJ¦2000+ | 0.03
NM¦pre-1960 | 0.055
NM¦1960-1983 | 0.042
NM¦1984-1999 | 0.031
NM¦2000+ | 0.025
NC¦pre-1960 | 0.114
NC¦1960-1983 | 0.088
NC¦1984-1999 | 0.064
NC¦2000+ | 0.052
ND¦pre-1960 | 0.044
ND¦1960-1983 | 0.034
ND¦1984-1999 | 0.025
ND¦2000+ | 0.02
OH¦pre-1960 | 0.073
OH¦1960-1983 | 0.056
OH¦1984-1999 | 0.041
OH¦2000+ | 0.034
OK¦pre-1960 | 0.139
OK¦1960-1983 | 0.107
OK¦1984-1999 | 0.078
OK¦2000+ | 0.064
OR¦pre-1960 | 0.053
OR¦1960-1983 | 0.041
OR¦1984-1999 | 0.03
OR¦2000+ | 0.024
PA¦pre-1960 | 0.068
PA¦1960-1983 | 0.052
PA¦1984-1999 | 0.038
PA¦2000+ | 0.031
RI¦pre-1960 | 0.053
RI¦1960-1983 | 0.041
RI¦1984-1999 | 0.03
RI¦2000+ | 0.024
SC¦pre-1960 | 0.132
SC¦1960-1983 | 0.102
SC¦1984-1999 | 0.074
SC¦2000+ | 0.061
SD¦pre-1960 | 0.05
SD¦1960-1983 | 0.039
SD¦1984-1999 | 0.028
SD¦2000+ | 0.023
TN¦pre-1960 | 0.111
TN¦1960-1983 | 0.085
TN¦1984-1999 | 0.062
TN¦2000+ | 0.051
TX¦pre-1960 | 0.167
TX¦1960-1983 | 0.129
TX¦1984-1999 | 0.094
TX¦2000+ | 0.077
UT¦pre-1960 | 0.055
UT¦1960-1983 | 0.042
UT¦1984-1999 | 0.031
UT¦2000+ | 0.025
VT¦pre-1960 | 0.037
VT¦1960-1983 | 0.028
VT¦1984-1999 | 0.021
VT¦2000+ | 0.017
VA¦pre-1960 | 0.098
VA¦1960-1983 | 0.075
VA¦1984-1999 | 0.055
VA¦2000+ | 0.045
WV¦pre-1960 | 0.071
WV¦1960-1983 | 0.055
WV¦1984-1999 | 0.04
WV¦2000+ | 0.033
WI¦pre-1960 | 0.059
WI¦1960-1983 | 0.045
WI¦1984-1999 | 0.033
WI¦2000+ | 0.027
WY¦pre-1960 | 0.034
WY¦1960-1983 | 0.026
WY¦1984-1999 | 0.019
WY¦2000+ | 0.016
DC¦pre-1960 | 0.085
DC¦1960-1983 | 0.065
DC¦1984-1999 | 0.048
DC¦2000+ | 0.039
PR¦pre-1960 | 0.229
PR¦1960-1983 | 0.176
PR¦1984-1999 | 0.128
PR¦2000+ | 0.106
VI¦pre-1960 | 0.229
VI¦1960-1983 | 0.176
VI¦1984-1999 | 0.128
VI¦2000+ | 0.106
Cooling electricity intensity (GJ per m² of heated area per year). CA (QC/ON/AB/BC): NRCan CEUD Table 4 (2018-2023 avg). US: RECS 2020 (CO/MI/NY/WA exact); others estimated by CDD^0.75 scaling from humid (NY) or dry (CO) reference, by vintage ratio.

## P_BuildingType
building_type | envelope_factor
detached | 1
attached | 0.85
apartment | 0.7
Applied to heating & cooling (envelope/area effect). Source: NRCan CEUD Table 33 building-type ratios.

## P_Systems
heating_system | fuel | efficiency_or_COP
Natural gas | Natural gas | 0.85
Heating oil / propane | Oil/propane | 0.84
Electric baseboard | Electricity | 1
Electric heat pump | Electricity | 1.9
Wood | Wood | 0.65

## P_WaterHeat
water_heater | fuel | efficiency_or_COP
Natural gas | Natural gas | 0.6
Electric | Electricity | 0.9
Heating oil / propane | Oil/propane | 0.59
Heat-pump water heater | Electricity | 2.5

## P_U_water
key | useful_hotwater_GJ_per_hh
QC¦detached | 12.4
QC¦attached | 11.3
QC¦apartment | 8.5
ON¦detached | 11.2
ON¦attached | 10.2
ON¦apartment | 7.6
AB¦detached | 19.8
AB¦attached | 18
AB¦apartment | 13.5
BC¦detached | 15.8
BC¦attached | 14.4
BC¦apartment | 10.8
MB¦detached | 13.2
MB¦attached | 12
MB¦apartment | 9
SK¦detached | 18.2
SK¦attached | 16.5
SK¦apartment | 12.4
NS¦detached | 12.7
NS¦attached | 11.5
NS¦apartment | 8.6
NB¦detached | 12.7
NB¦attached | 11.5
NB¦apartment | 8.6
NL¦detached | 13.8
NL¦attached | 12.5
NL¦apartment | 9.4
PE¦detached | 12.7
PE¦attached | 11.5
PE¦apartment | 8.6
YT¦detached | 14.9
YT¦attached | 13.5
YT¦apartment | 10.1
NT¦detached | 15.4
NT¦attached | 14
NT¦apartment | 10.5
NU¦detached | 15.4
NU¦attached | 14
NU¦apartment | 10.5
CO¦detached | 12.8
CO¦attached | 11.6
CO¦apartment | 8.7
MI¦detached | 11.6
MI¦attached | 10.6
MI¦apartment | 7.9
NY¦detached | 12
NY¦attached | 10.9
NY¦apartment | 8.2
WA¦detached | 14.7
WA¦attached | 13.4
WA¦apartment | 10
AL¦detached | 12.3
AL¦attached | 11.2
AL¦apartment | 8.4
AK¦detached | 15.4
AK¦attached | 14
AK¦apartment | 10.5
AZ¦detached | 10.6
AZ¦attached | 9.6
AZ¦apartment | 7.2
AR¦detached | 12.7
AR¦attached | 11.5
AR¦apartment | 8.6
CA¦detached | 11.9
CA¦attached | 10.8
CA¦apartment | 8.1
CT¦detached | 12.1
CT¦attached | 11
CT¦apartment | 8.2
DE¦detached | 12.4
DE¦attached | 11.3
DE¦apartment | 8.5
FL¦detached | 10.3
FL¦attached | 9.4
FL¦apartment | 7.1
GA¦detached | 11.9
GA¦attached | 10.8
GA¦apartment | 8.1
HI¦detached | 9.9
HI¦attached | 9
HI¦apartment | 6.8
ID¦detached | 14.3
ID¦attached | 13
ID¦apartment | 9.8
IL¦detached | 11.9
IL¦attached | 10.8
IL¦apartment | 8.1
IN¦detached | 11.9
IN¦attached | 10.8
IN¦apartment | 8.1
IA¦detached | 12.3
IA¦attached | 11.2
IA¦apartment | 8.4
KS¦detached | 12.3
KS¦attached | 11.2
KS¦apartment | 8.4
KY¦detached | 12.7
KY¦attached | 11.5
KY¦apartment | 8.6
LA¦detached | 10.8
LA¦attached | 9.8
LA¦apartment | 7.4
ME¦detached | 13.8
ME¦attached | 12.5
ME¦apartment | 9.4
MD¦detached | 12.3
MD¦attached | 11.2
MD¦apartment | 8.4
MA¦detached | 12.1
MA¦attached | 11
MA¦apartment | 8.2
MN¦detached | 13
MN¦attached | 11.8
MN¦apartment | 8.9
MS¦detached | 11.6
MS¦attached | 10.5
MS¦apartment | 7.9
MO¦detached | 12.1
MO¦attached | 11
MO¦apartment | 8.2
MT¦detached | 14.3
MT¦attached | 13
MT¦apartment | 9.8
NE¦detached | 12.7
NE¦attached | 11.5
NE¦apartment | 8.6
NV¦detached | 11
NV¦attached | 10
NV¦apartment | 7.5
NH¦detached | 13.2
NH¦attached | 12
NH¦apartment | 9
NJ¦detached | 12.3
NJ¦attached | 11.2
NJ¦apartment | 8.4
NM¦detached | 11.6
NM¦attached | 10.5
NM¦apartment | 7.9
NC¦detached | 11.9
NC¦attached | 10.8
NC¦apartment | 8.1
ND¦detached | 13.8
ND¦attached | 12.5
ND¦apartment | 9.4
OH¦detached | 11.9
OH¦attached | 10.8
OH¦apartment | 8.1
OK¦detached | 11.6
OK¦attached | 10.5
OK¦apartment | 7.9
OR¦detached | 14.1
OR¦attached | 12.8
OR¦apartment | 9.6
PA¦detached | 12.1
PA¦attached | 11
PA¦apartment | 8.2
RI¦detached | 12.1
RI¦attached | 11
RI¦apartment | 8.2
SC¦detached | 11.6
SC¦attached | 10.5
SC¦apartment | 7.9
SD¦detached | 13.8
SD¦attached | 12.5
SD¦apartment | 9.4
TN¦detached | 11.9
TN¦attached | 10.8
TN¦apartment | 8.1
TX¦detached | 10.8
TX¦attached | 9.8
TX¦apartment | 7.4
UT¦detached | 13.2
UT¦attached | 12
UT¦apartment | 9
VT¦detached | 13.8
VT¦attached | 12.5
VT¦apartment | 9.4
VA¦detached | 11.9
VA¦attached | 10.8
VA¦apartment | 8.1
WV¦detached | 12.7
WV¦attached | 11.5
WV¦apartment | 8.6
WI¦detached | 12.3
WI¦attached | 11.2
WI¦apartment | 8.4
WY¦detached | 14.9
WY¦attached | 13.5
WY¦apartment | 10.1
DC¦detached | 11.6
DC¦attached | 10.5
DC¦apartment | 7.9
PR¦detached | 8.9
PR¦attached | 8.1
PR¦apartment | 6.1
VI¦detached | 8.9
VI¦attached | 8.1
VI¦apartment | 6.1
Useful hot-water demand (GJ per household per year) by dwelling type. CA (QC/ON/AB/BC): NRCan CEUD Table 2 (2023). US: RECS 2020 (CO/MI/NY/WA exact); others scaled from RECS 2020 regional means by dwelling-type factors (detached 1.10, attached 1.00, apartment 0.75).

## P_OtherElec
jurisdiction | other_elec_base_GJ_per_hh
QC | 20.2
ON | 12.8
AB | 16.2
BC | 17
MB | 16
SK | 15.5
NS | 18
NB | 17
NL | 20
PE | 16.5
YT | 20
NT | 21
NU | 22
AL | 25
AK | 22
AZ | 21
AR | 22.5
CA | 16
CO | 21
CT | 17
DE | 19.5
FL | 27
GA | 23
HI | 19
ID | 21.5
IL | 19.5
IN | 22
IA | 21
KS | 21.5
KY | 22.5
LA | 26
ME | 16.5
MD | 18.5
MA | 16.5
MI | 21
MN | 20
MS | 24
MO | 21.5
MT | 21
NE | 21
NV | 20.5
NH | 17
NJ | 18
NM | 20
NY | 16
NC | 21.5
ND | 21.5
OH | 21.5
OK | 22.5
OR | 18.5
PA | 18
RI | 17
SC | 24
SD | 21.5
TN | 23
TX | 23
UT | 21
VT | 16.5
VA | 20
WA | 20
WV | 22
WI | 21
WY | 22
DC | 14.5
PR | 18
VI | 20
Appliances/lighting/plug-load baseline (GJ per average household). CA (QC/ON/AB/BC): NRCan CEUD Table 2 (2023). US: RECS 2020 non-HVAC electricity (CO/MI/NY/WA exact); others from RECS 2020 state microdata or regional estimate.

## P_Size
household_size | other_elec_factor | water_factor_ref
1 | 0.66 | 0.64
2 | 1 | 0.95
3 | 1.17 | 1.21
4 | 1.3 | 1.4
5 | 1.41 | 1.52
6+ | 1.51 | 1.55
Household-size load factors (normalized to mean=1), RECS 2020 (CO/MI/NY/WA pooled). other_elec_factor used; water_factor_ref optional.

## P_EF_Fuel
fuel | combustion_kgCO2e_GJ | upstream_kgCO2e_GJ | lifecycle_kgCO2e_GJ
Natural gas | 50.3 | 12.98
Oil/propane | 65.1 | 14.7
Wood | 1.1 | 0
Combustion: EPA GHG Emission Factors Hub 2025 (CO2e, HHV; Oil/propane = mean of distillate 70.3 & propane 59.8). Upstream/well-to-tank: DOE BTO Best Practices Jan 2025 Table 2 / RESNET 301-2022 Add.B (NG +12.98; oil +13.89 & propane +15.54 -> mean +14.7). Wood biogenic-neutral; upstream excluded. lifecycle = combustion + upstream (USED in calc).

## P_EF_Elec
jurisdiction | gCO2e_per_kWh | grid_gross_loss | combustion_kgCO2e_GJ_delivered | upstream_kgCO2e_GJ | lifecycle_kgCO2e_GJ_delivered
QC | 1.7 | 0 |  | 0.2
ON | 38 | 0 |  | 3.4
AB | 490 | 0 |  | 22.7
BC | 15 | 0 |  | 1.3
MB | 1.9 | 0 |  | 0.1
SK | 680 | 0 |  | 18
NS | 560 | 0 |  | 23
NB | 180 | 0 |  | 13
NL | 22 | 0 |  | 1
PE | 250 | 0 |  | 18
YT | 40 | 0 |  | 3.5
NT | 280 | 0 |  | 28
NU | 780 | 0 |  | 34
CO | 474 | 0.041 |  | 16.1
MI | 347 | 0.042 |  | 18.4
NY | 203 | 0.042 |  | 14.7
WA | 116 | 0.041 |  | 6.7
AL | 390 | 0.041 |  | 12.5
AK | 411 | 0.041 |  | 10
AZ | 320 | 0.041 |  | 11
AR | 337 | 0.041 |  | 10.5
CA | 195 | 0.041 |  | 11.5
CT | 175 | 0.045 |  | 12
DE | 272 | 0.04 |  | 14
FL | 356 | 0.041 |  | 13.5
GA | 350 | 0.041 |  | 11.5
HI | 600 | 0.041 |  | 20
ID | 80 | 0.041 |  | 3.5
IL | 330 | 0.042 |  | 13
IN | 460 | 0.043 |  | 17
IA | 310 | 0.041 |  | 11
KS | 320 | 0.041 |  | 11.5
KY | 510 | 0.043 |  | 17.5
LA | 340 | 0.041 |  | 12.5
ME | 120 | 0.045 |  | 6
MD | 240 | 0.04 |  | 11.5
MA | 245 | 0.045 |  | 14
MN | 280 | 0.041 |  | 10.5
MS | 350 | 0.041 |  | 12
MO | 490 | 0.041 |  | 16.5
MT | 220 | 0.041 |  | 9.5
NE | 340 | 0.041 |  | 11.5
NV | 270 | 0.041 |  | 12
NH | 155 | 0.045 |  | 8.5
NJ | 190 | 0.04 |  | 9
NM | 350 | 0.041 |  | 13
NC | 255 | 0.041 |  | 9.5
ND | 515 | 0.041 |  | 14.5
OH | 400 | 0.043 |  | 14
OK | 305 | 0.041 |  | 11
OR | 100 | 0.041 |  | 5
PA | 250 | 0.04 |  | 10.5
RI | 230 | 0.045 |  | 13.5
SC | 215 | 0.041 |  | 7.5
SD | 130 | 0.041 |  | 6
TN | 295 | 0.041 |  | 9.5
TX | 334 | 0.041 |  | 13
UT | 430 | 0.041 |  | 14.5
VT | 16 | 0.045 |  | 2
VA | 215 | 0.041 |  | 8.5
WV | 590 | 0.043 |  | 15.5
WI | 370 | 0.041 |  | 13.5
WY | 590 | 0.041 |  | 15
DC | 272 | 0.04 |  | 14
PR | 726 | 0.06 |  | 22
VI | 770 | 0.06 |  | 24
Combustion (D): CA = ECCC Emission Factors 2024, Table 5.2 consumption intensity (delivered basis, grid_loss=0); US = eGRID2023 state output rates grossed up for grid gross loss (subregion-level; CO/MI/NY/WA original, others eGRID2023 Rev 2). Upstream (E): Σ(generation share × heat rate × GREET/RESNET upstream factor) per delivered kWh (CER 2023 provincial mix; eGRID2023 state mix for US). lifecycle = combustion + upstream (USED in calc).

## P_Vehicle
P_Vehicle — Vehicle Lifecycle Emission Factors (kg CO₂e / km driven)
Jurisdiction | Grid Lifecycle (kgCO₂e/GJ) | Gas Truck | Gas Car | Diesel Truck | Diesel Car | HEV Truck | HEV Car | PHEV* Truck | PHEV* Car | EV* Truck | EV* Car | Value Source | Notes
-> fuel type: |  | Gasoline |  | Diesel |  | HEV (non-plug) |  | PHEV* (grid-dep) |  | BEV* (grid-dep)
CANADA -- provinces and territories
QC | 0.7 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.116 | 0.081 | 0.064 | 0.04 | Exact — Table 17 (original AFLEET study)
ON | 14 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.117 | 0.082 | 0.067 | 0.042 | Exact — Table 17 (original AFLEET study)
AB | 158.8 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.123 | 0.086 | 0.082 | 0.051 | Exact — Table 17 (original AFLEET study)
BC | 5.5 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.116 | 0.081 | 0.064 | 0.04 | Exact — Table 17 (original AFLEET study)
MB | 0.6 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.116 | 0.081 | 0.064 | 0.04 | Table 16 blend: 100% VT-surrogate
SK | 206.9 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.123 | 0.086 | 0.081 | 0.05 | Table 16 blend: 100% CO (ceiling)
NS | 178.6 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.123 | 0.086 | 0.081 | 0.05 | Table 16 blend: 100% CO (ceiling)
NB | 63 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.119 | 0.083 | 0.07 | 0.044 | Table 16 blend: 36.8%WA+63.2%NY
NL | 7.1 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.116 | 0.081 | 0.064 | 0.04 | Table 16 blend: 99.4%VT(VT)+0.6%WA
PE | 87.4 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.122 | 0.085 | 0.078 | 0.049 | Table 16 blend: 76.2%NY+23.8%MI
YT | 14.6 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.118 | 0.082 | 0.068 | 0.042 | Table 16 blend: 76.9%VT(VT)+23.1%WA
NT | 105.8 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.131 | 0.092 | 0.102 | 0.063 | Table 16 blend: 37.3%NY+62.7%MI
NU | 250.7 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.123 | 0.086 | 0.081 | 0.05 | Table 16 blend: 100% CO (ceiling)
UNITED STATES -- all 50 states + DC
CO | 153.4 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.123 | 0.086 | 0.081 | 0.05 | Exact — Table 17 (original AFLEET study)
MI | 119 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.14 | 0.098 | 0.124 | 0.077 | Exact — Table 17 (original AFLEET study)
NY | 73.6 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.116 | 0.081 | 0.064 | 0.04 | Exact — Table 17 (original AFLEET study)
WA | 40.3 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.123 | 0.086 | 0.081 | 0.05 | Exact — Table 17 (original AFLEET study)
AL | 125.5 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.133 | 0.1 | 0.134 | 0.083 | AFLEET_2024 — SERC region (elecSrc 8)
AK | 129 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.138 | 0.106 | 0.152 | 0.095 | AFLEET_2024 — ASCC region (elecSrc 2)
AZ | 103.7 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.119 | 0.086 | 0.081 | 0.05 | AFLEET_2024 — WECC region (elecSrc 11)
AR | 108.1 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.133 | 0.1 | 0.134 | 0.083 | AFLEET_2024 — SERC region (elecSrc 8)
CA | 68 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.119 | 0.086 | 0.081 | 0.05 | AFLEET_2024 — WECC region (elecSrc 11)
CT | 62.9 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.114 | 0.081 | 0.064 | 0.04 | AFLEET_2024 — NPCC region (elecSrc 6)
DE | 92.7 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.13 | 0.098 | 0.124 | 0.077 | AFLEET_2024 — RFC region (elecSrc 7)
FL | 116.6 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.132 | 0.099 | 0.13 | 0.081 | AFLEET_2024 — FRCC region (elecSrc 3)
GA | 112.9 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.133 | 0.1 | 0.134 | 0.083 | AFLEET_2024 — SERC region (elecSrc 8)
HI | 193.8 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.162 | 0.129 | 0.236 | 0.147 | AFLEET_2024 — HICC region (elecSrc 4)
ID | 26.7 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.119 | 0.086 | 0.081 | 0.05 | AFLEET_2024 — WECC region (elecSrc 11)
IL | 108.7 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.13 | 0.098 | 0.124 | 0.077 | AFLEET_2024 — RFC region (elecSrc 7)
IN | 150.5 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.13 | 0.098 | 0.124 | 0.077 | AFLEET_2024 — RFC region (elecSrc 7)
IA | 100.8 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.131 | 0.098 | 0.126 | 0.078 | AFLEET_2024 — MRO region (elecSrc 5)
KS | 104.2 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.127 | 0.095 | 0.112 | 0.07 | AFLEET_2024 — SPP region (elecSrc 9)
KY | 165.5 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.133 | 0.1 | 0.134 | 0.083 | AFLEET_2024 — SERC region (elecSrc 8)
LA | 111 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.127 | 0.095 | 0.112 | 0.07 | AFLEET_2024 — SPP region (elecSrc 9)
ME | 40.9 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.114 | 0.081 | 0.064 | 0.04 | AFLEET_2024 — NPCC region (elecSrc 6)
MD | 80.9 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.13 | 0.098 | 0.124 | 0.077 | AFLEET_2024 — RFC region (elecSrc 7)
MA | 85.3 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.114 | 0.081 | 0.064 | 0.04 | AFLEET_2024 — NPCC region (elecSrc 6)
MN | 91.6 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.131 | 0.098 | 0.126 | 0.078 | AFLEET_2024 — MRO region (elecSrc 5)
MS | 113.4 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.133 | 0.1 | 0.134 | 0.083 | AFLEET_2024 — SERC region (elecSrc 8)
MO | 158.4 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.133 | 0.1 | 0.134 | 0.083 | AFLEET_2024 — SERC region (elecSrc 8)
MT | 73.2 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.119 | 0.086 | 0.081 | 0.05 | AFLEET_2024 — WECC region (elecSrc 11)
NE | 110 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.131 | 0.098 | 0.126 | 0.078 | AFLEET_2024 — MRO region (elecSrc 5)
NV | 90.2 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.119 | 0.086 | 0.081 | 0.05 | AFLEET_2024 — WECC region (elecSrc 11)
NH | 53.6 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.114 | 0.081 | 0.064 | 0.04 | AFLEET_2024 — NPCC region (elecSrc 6)
NJ | 64 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.13 | 0.098 | 0.124 | 0.077 | AFLEET_2024 — RFC region (elecSrc 7)
NM | 114.4 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.119 | 0.086 | 0.081 | 0.05 | AFLEET_2024 — WECC region (elecSrc 11)
NC | 83.4 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.133 | 0.1 | 0.134 | 0.083 | AFLEET_2024 — SERC region (elecSrc 8)
ND | 163.7 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.131 | 0.098 | 0.126 | 0.078 | AFLEET_2024 — MRO region (elecSrc 5)
OH | 130.1 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.13 | 0.098 | 0.124 | 0.077 | AFLEET_2024 — RFC region (elecSrc 7)
OK | 99.3 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.127 | 0.095 | 0.112 | 0.07 | AFLEET_2024 — SPP region (elecSrc 9)
OR | 34 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.119 | 0.086 | 0.081 | 0.05 | AFLEET_2024 — WECC region (elecSrc 11)
PA | 82.8 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.13 | 0.098 | 0.124 | 0.077 | AFLEET_2024 — RFC region (elecSrc 7)
RI | 80.4 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.114 | 0.081 | 0.064 | 0.04 | AFLEET_2024 — NPCC region (elecSrc 6)
SC | 69.8 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.133 | 0.1 | 0.134 | 0.083 | AFLEET_2024 — SERC region (elecSrc 8)
SD | 65.9 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.131 | 0.098 | 0.126 | 0.078 | AFLEET_2024 — MRO region (elecSrc 5)
TN | 94.9 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.133 | 0.1 | 0.134 | 0.083 | AFLEET_2024 — SERC region (elecSrc 8)
TX | 109.7 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.124 | 0.091 | 0.1 | 0.062 | AFLEET_2024 — TRE region (elecSrc 10)
UT | 139.1 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.119 | 0.086 | 0.081 | 0.05 | AFLEET_2024 — WECC region (elecSrc 11)
VT | 6.7 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.114 | 0.081 | 0.064 | 0.04 | AFLEET_2024 — NPCC region (elecSrc 6)
VA | 70.8 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.13 | 0.098 | 0.124 | 0.077 | AFLEET_2024 — RFC region (elecSrc 7)
WV | 186.8 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.13 | 0.098 | 0.124 | 0.077 | AFLEET_2024 — RFC region (elecSrc 7)
WI | 120.7 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.131 | 0.098 | 0.126 | 0.078 | AFLEET_2024 — MRO region (elecSrc 5)
WY | 185.9 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.119 | 0.086 | 0.081 | 0.05 | AFLEET_2024 — WECC region (elecSrc 11)
DC | 92.7 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.13 | 0.098 | 0.124 | 0.077 | AFLEET_2024 — RFC region (elecSrc 7)
PR | 236.5 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.176 | 0.14 | 0.277 | 0.173 | Territory est. (grid eGRID2022 PRMS; EV/PHEV grid-scaled from HI)
VI | 251.5 | 0.315 | 0.215 | 0.266 | 0.181 | 0.219 | 0.144 | 0.18 | 0.144 | 0.291 | 0.182 | Territory est. (WAPA oil grid; EV/PHEV grid-scaled from HI)
UNITS: kg CO2e / km driven, lifecycle (well-to-wheels + vehicle manufacturing).
Gasoline / Diesel / HEV are grid-independent -- same for all jurisdictions.
* PHEV and BEV values depend on local electricity grid mix.
Color legend:
GREEN = Exact Table 17 values from original study (8 jurisdictions: CO,MI,NY,WA,BC,AB,ON,QC).
BLUE = AFLEET Online 2024 API values. Each US state maps to one of 10 NERC/eGRID regions.
Unit conv: AFLEET metric tonnes CO2/yr / 21.97 = kg CO2e/km (Gasoline calibration).
NERC map: ASCC=AK ¦ FRCC=FL ¦ HICC=HI ¦ MRO=IA,MN,ND,NE,SD,WI
NPCC=CT,ME,MA,NH,NY,RI,VT ¦ RFC=DE,DC,IL,IN,MD,MI,NJ,OH,PA,VA,WV
SERC=AL,AR,GA,KY,MO,MS,NC,SC,TN ¦ SPP=KS,LA,OK ¦ TRE=TX
WECC=AZ,CA,CO,ID,MT,NM,NV,OR,UT,WA,WY
YELLOW = Table 16 convex-combination (Canadian provinces -- AFLEET does not cover Canada).

## P_GasEff
jurisdiction | gas_furnace_efficiency
QC | 0.88
ON | 0.89
AB | 0.87
BC | 0.87
MB | 0.88
SK | 0.87
NS | 0.86
NB | 0.86
NL | 0.86
PE | 0.86
YT | 0.87
NT | 0.87
NU | 0.87
CO | 0.85
MI | 0.85
NY | 0.85
WA | 0.85
AL | 0.85
AK | 0.85
AZ | 0.85
AR | 0.85
CA | 0.85
CT | 0.85
DE | 0.85
FL | 0.85
GA | 0.85
HI | 0.85
ID | 0.85
IL | 0.85
IN | 0.85
IA | 0.85
KS | 0.85
KY | 0.85
LA | 0.85
ME | 0.85
MD | 0.85
MA | 0.85
MN | 0.85
MS | 0.85
MO | 0.85
MT | 0.85
NE | 0.85
NV | 0.85
NH | 0.85
NJ | 0.85
NM | 0.85
NC | 0.85
ND | 0.85
OH | 0.85
OK | 0.85
OR | 0.85
PA | 0.85
RI | 0.85
SC | 0.85
SD | 0.85
TN | 0.85
TX | 0.85
UT | 0.85
VT | 0.85
VA | 0.85
WV | 0.85
WI | 0.85
WY | 0.85
DC | 0.85
PR | 0.85
VI | 0.85
CA (QC/ON/AB/BC): NRCan CEUD Table 21 stock split × Table 26 tier efficiencies (Medium 80%, High 90%); others use national CA average 0.87-0.88. US: ~0.85 national fleet AFUE (DOE/AHRI condensing share ~40-45%).

## P_HPcop
jurisdiction | hp_seasonal_COP_electric | fhp_natgas_backup | cop_op_natgas | fhp_oilprop_backup | cop_op_oilprop | switchover_gas_degC | switchover_oilprop_degC | elec_price_c_per_kWh | backup_gas_price_per_GJ
QC | 1.848 | 0.971 | 1.889 | 0.971 | 1.889 | -15 | -15 | 7.8 | 16
ON | 2.069 | 0.464 | 2.442 | 0.998 | 2.072 | 0 | -15 | 14.1 | 11
AB | 1.961 | 0.373 | 2.467 | 0.971 | 1.991 | 0 | -13 | 25.8 | 9
BC | 2.453 | 0.891 | 2.531 | 1 | 2.453 | 0 | -15 | 11.4 | 13
MB | 1.496 | 0.18 | 2.481 | 0.733 | 1.79 | 0 | -15 | 10.2 | 9.5
SK | 1.549 | 0.194 | 2.483 | 0.782 | 1.796 | 0 | -15 | 19.9 | 10
NS | 2.08 | 0.476 | 2.452 | 0.999 | 2.083 | 0 | -15 | 18.3 | 20
NB | 1.855 | 0.609 | 2.129 | 0.971 | 1.896 | -6.3 | -15 | 13.9 | 20
NL | 2.09 | 0.999 | 2.092 | 0.999 | 2.092 | -15 | -15 | 14.8 | 30
PE | 1.928 | 0.941 | 1.978 | 0.987 | 1.949 | -11.5 | -15 | 18.4 | 30
YT | 1.578 | 0.592 | 1.972 | 0.796 | 1.823 | -10.8 | -15 | 18.7 | 30
NT | 1.246 | 0.137 | 2.505 | 0.137 | 2.505 | 0 | 0 | 41 | 30
NU | 1.234 | 0.134 | 2.4 | 0.142 | 2.38 | 0 | -0.4 | 35.4 | 30
CO | 1.885 | 0.628 | 2.091 | 0.993 | 1.891 | 0 | -9.8 | 16.54 | 10.74
MI | 1.745 | 0.432 | 2.083 | 0.462 | 2.059 | 0 | -0.1 | 21.39 | 10.45
NY | 1.897 | 0.65 | 2.086 | 0.65 | 2.086 | 0 | 0 | 29.45 | 17.44
WA | 2.139 | 0.923 | 2.188 | 1 | 2.139 | 0 | -15 | 14.36 | 12
AL | 2.208 | 0.963 | 2.233 | 1 | 2.208 | 0 | -7.7 | 17.41 | 16.46
AK | 1.648 | 0.351 | 2.1 | 0.351 | 2.1 | 0 | 0 | 27.35 | 11.96
AZ | 2.45 | 0.999 | 2.451 | 1 | 2.45 | 0 | -12.9 | 15.48 | 18.17
AR | 2.119 | 0.993 | 2.125 | 1 | 2.119 | -4.4 | -15 | 14.16 | 22.67
CA | 2.492 | 0.999 | 2.493 | 0.999 | 2.493 | 0 | 0 | 35.25 | 19.12
CT | 1.784 | 0.483 | 2.083 | 0.483 | 2.083 | 0 | 0 | 32.24 | 18.04
DE | 1.956 | 0.738 | 2.098 | 0.958 | 1.985 | 0 | -4.8 | 18.79 | 15.82
FL | 2.667 | 1 | 2.667 | 1 | 2.667 | 0 | -13.2 | 15.38 | 20.3
GA | 2.208 | 0.963 | 2.233 | 1 | 2.208 | 0 | -13.2 | 15.37 | 16.99
HI | 2.727 | 1 | 2.727 | 1 | 2.727 | 0 | 0 | 46.62 | 56.2
ID | 1.881 | 0.624 | 2.087 | 1 | 1.881 | 0 | -15 | 12.7 | 7.17
IL | 1.745 | 0.432 | 2.083 | 0.557 | 1.992 | 0 | -1.7 | 20.47 | 11.17
IN | 1.815 | 0.529 | 2.075 | 0.928 | 1.859 | 0 | -6.6 | 17.9 | 11.53
IA | 1.669 | 0.347 | 2.086 | 0.992 | 1.677 | 0 | -15 | 13.86 | 11.07
KS | 1.911 | 0.675 | 2.083 | 0.999 | 1.911 | 0 | -11.9 | 15.78 | 14.36
KY | 1.996 | 0.791 | 2.11 | 1 | 1.996 | 0 | -14.4 | 15.02 | 17.65
LA | 2.413 | 0.998 | 2.416 | 1 | 2.413 | 0 | -15 | 14.44 | 12.92
ME | 1.679 | 0.36 | 2.097 | 0.36 | 2.097 | 0 | 0 | 28.42 | 14.77
MD | 1.956 | 0.738 | 2.098 | 0.738 | 2.098 | 0 | 0 | 22.07 | 15.87
MA | 1.86 | 0.593 | 2.084 | 0.593 | 2.084 | 0 | 0 | 29.45 | 25.08
MN | 1.585 | 0.28 | 2.1 | 0.83 | 1.679 | 0 | -10.2 | 16.39 | 13.23
MS | 2.249 | 0.977 | 2.267 | 1 | 2.249 | 0 | -9.3 | 16.76 | 17.11
MO | 1.911 | 0.675 | 2.083 | 1 | 1.911 | 0 | -15 | 14.01 | 14.53
MT | 1.773 | 0.468 | 2.092 | 0.998 | 1.775 | 0 | -15 | 13.9 | 7.82
NE | 1.703 | 0.382 | 2.079 | 0.996 | 1.708 | 0 | -15 | 13.28 | 11.13
NV | 2.246 | 0.976 | 2.263 | 1 | 2.246 | 0 | -15 | 14.29 | 9.27
NH | 1.711 | 0.393 | 2.089 | 0.393 | 2.089 | 0 | 0 | 27.24 | 19.63
NJ | 1.914 | 0.677 | 2.086 | 0.677 | 2.086 | 0 | 0 | 23.53 | 13.11
NM | 1.996 | 0.791 | 2.11 | 1 | 1.996 | 0 | -13.9 | 15.15 | 10.98
NC | 2.121 | 0.917 | 2.173 | 1 | 2.121 | 0 | -10.6 | 16.25 | 14.77
ND | 1.45 | 0.215 | 2.117 | 0.868 | 1.546 | 0 | -15 | 12.35 | 7.63
OH | 1.817 | 0.531 | 2.077 | 0.767 | 1.943 | 0 | -3.4 | 19.49 | 12.69
OK | 2.033 | 0.838 | 2.123 | 1 | 2.033 | 0 | -15 | 13.31 | 14.72
OR | 2.116 | 0.907 | 2.175 | 1 | 2.116 | 0 | -11.9 | 15.78 | 16.59
PA | 1.956 | 0.738 | 2.098 | 0.738 | 2.098 | 0 | 0 | 21.47 | 15.39
RI | 1.842 | 0.566 | 2.084 | 0.566 | 2.084 | 0 | 0 | 28.3 | 14.31
SC | 2.291 | 0.986 | 2.302 | 1 | 2.291 | 0 | -8.6 | 17.06 | 16.61
SD | 1.585 | 0.28 | 2.1 | 0.97 | 1.611 | 0 | -15 | 14.52 | 10.36
TN | 2.056 | 0.862 | 2.135 | 1 | 2.056 | 0 | -14.7 | 14.94 | 14.34
TX | 2.247 | 0.977 | 2.264 | 1 | 2.247 | 0 | -8.7 | 16.99 | 22.71
UT | 1.837 | 0.561 | 2.079 | 1 | 1.838 | 0 | -15 | 13.29 | 10.45
VT | 1.625 | 0.312 | 2.102 | 0.312 | 2.102 | 0 | 0 | 24.56 | 15.44
VA | 2.036 | 0.84 | 2.126 | 0.998 | 2.038 | 0 | -7.8 | 17.38 | 17.31
WV | 1.935 | 0.708 | 2.092 | 0.999 | 1.936 | 0 | -11.1 | 16.06 | 12.92
WI | 1.692 | 0.372 | 2.09 | 0.606 | 1.909 | 0 | -4 | 19.21 | 8.75
WY | 1.8 | 0.503 | 2.097 | 0.999 | 1.801 | 0 | -15 | 14.68 | 10.01
DC | 1.994 | 0.79 | 2.108 | 1 | 1.994 | 0 | -12.8 | 15.5 | 15.69
PR | 2.751 | 1 | 2.751 | 1 | 2.751 | -4.4 | 0 | 25 | 40
VI | 2.751 | 1 | 2.751 | 1 | 2.751 | 0 | 0 | 45 | 40
hp_seasonal_COP_electric = jurisdiction-specific seasonal COP for heat pumps with electric/resistance/no fossil backup, from a field-data COP(T) curve (Gibb et al. 2023, Joule) scaled so the national load-weighted seasonal COP reproduces 1.90 (CA)/2.00 (US); standard-stock compressor lockout at -15C (resistance below). fhp_* = fraction of annual heating load carried by the heat pump before switchover to the named backup fuel; cop_op_* = load-weighted operating COP above switchover. Switchover = cost-minimising temperature from local electricity vs fuel prices, capped at max 0C (HP-priority above freezing) and floored at the -15C lockout. See methodology document.

## P_DKHeat
jurisdiction | country | w_gas | w_oilprop | w_baseboard | w_heatpump | w_wood | grid_kg_GJ_lifecycle | gas_eff | hp_cop | DK_EFperEff | DK_energy_per_demand
QC | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
ON | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
AB | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
BC | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
MB | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
SK | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
NS | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
NB | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
NL | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
PE | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
YT | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
NT | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
NU | CA | 0.443 | 0.059 | 0.374 | 0.079 | 0.045
CO | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
MI | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
NY | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
WA | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
AL | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
AK | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
AZ | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
AR | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
CA | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
CT | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
DE | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
FL | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
GA | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
HI | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
ID | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
IL | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
IN | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
IA | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
KS | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
KY | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
LA | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
ME | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
MD | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
MA | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
MN | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
MS | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
MO | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
MT | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
NE | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
NV | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
NH | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
NJ | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
NM | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
NC | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
ND | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
OH | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
OK | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
OR | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
PA | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
RI | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
SC | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
SD | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
TN | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
TX | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
UT | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
VT | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
VA | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
WV | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
WI | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
WY | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
DC | US | 0.533 | 0.086 | 0.216 | 0.146 | 0.019
PR | US | 0.02 | 0.03 | 0.9 | 0.05 | 0
VI | US | 0.02 | 0.03 | 0.9 | 0.05 | 0
Used when space-heating = "Don't know". Lifecycle factors. CA weights: NRCan Tables 27 & 34 (2023). US weights: RECS 2020.

## P_DKWater
jurisdiction | country | w_gas | w_electric | w_oilprop | w_hpwh | grid_kg_GJ_lifecycle | DK_EFperEff | DK_energy_per_U
QC | CA | 0.49 | 0.492 | 0.018 | 0
ON | CA | 0.49 | 0.492 | 0.018 | 0
AB | CA | 0.49 | 0.492 | 0.018 | 0
BC | CA | 0.49 | 0.492 | 0.018 | 0
MB | CA | 0.49 | 0.492 | 0.018 | 0
SK | CA | 0.49 | 0.492 | 0.018 | 0
NS | CA | 0.49 | 0.492 | 0.018 | 0
NB | CA | 0.49 | 0.492 | 0.018 | 0
NL | CA | 0.49 | 0.492 | 0.018 | 0
PE | CA | 0.49 | 0.492 | 0.018 | 0
YT | CA | 0.49 | 0.492 | 0.018 | 0
NT | CA | 0.49 | 0.492 | 0.018 | 0
NU | CA | 0.49 | 0.492 | 0.018 | 0
CO | US | 0.482 | 0.463 | 0.055 | 0
MI | US | 0.482 | 0.463 | 0.055 | 0
NY | US | 0.482 | 0.463 | 0.055 | 0
WA | US | 0.482 | 0.463 | 0.055 | 0
AL | US | 0.482 | 0.463 | 0.055 | 0
AK | US | 0.482 | 0.463 | 0.055 | 0
AZ | US | 0.482 | 0.463 | 0.055 | 0
AR | US | 0.482 | 0.463 | 0.055 | 0
CA | US | 0.482 | 0.463 | 0.055 | 0
CT | US | 0.482 | 0.463 | 0.055 | 0
DE | US | 0.482 | 0.463 | 0.055 | 0
FL | US | 0.482 | 0.463 | 0.055 | 0
GA | US | 0.482 | 0.463 | 0.055 | 0
HI | US | 0.482 | 0.463 | 0.055 | 0
ID | US | 0.482 | 0.463 | 0.055 | 0
IL | US | 0.482 | 0.463 | 0.055 | 0
IN | US | 0.482 | 0.463 | 0.055 | 0
IA | US | 0.482 | 0.463 | 0.055 | 0
KS | US | 0.482 | 0.463 | 0.055 | 0
KY | US | 0.482 | 0.463 | 0.055 | 0
LA | US | 0.482 | 0.463 | 0.055 | 0
ME | US | 0.482 | 0.463 | 0.055 | 0
MD | US | 0.482 | 0.463 | 0.055 | 0
MA | US | 0.482 | 0.463 | 0.055 | 0
MN | US | 0.482 | 0.463 | 0.055 | 0
MS | US | 0.482 | 0.463 | 0.055 | 0
MO | US | 0.482 | 0.463 | 0.055 | 0
MT | US | 0.482 | 0.463 | 0.055 | 0
NE | US | 0.482 | 0.463 | 0.055 | 0
NV | US | 0.482 | 0.463 | 0.055 | 0
NH | US | 0.482 | 0.463 | 0.055 | 0
NJ | US | 0.482 | 0.463 | 0.055 | 0
NM | US | 0.482 | 0.463 | 0.055 | 0
NC | US | 0.482 | 0.463 | 0.055 | 0
ND | US | 0.482 | 0.463 | 0.055 | 0
OH | US | 0.482 | 0.463 | 0.055 | 0
OK | US | 0.482 | 0.463 | 0.055 | 0
OR | US | 0.482 | 0.463 | 0.055 | 0
PA | US | 0.482 | 0.463 | 0.055 | 0
RI | US | 0.482 | 0.463 | 0.055 | 0
SC | US | 0.482 | 0.463 | 0.055 | 0
SD | US | 0.482 | 0.463 | 0.055 | 0
TN | US | 0.482 | 0.463 | 0.055 | 0
TX | US | 0.482 | 0.463 | 0.055 | 0
UT | US | 0.482 | 0.463 | 0.055 | 0
VT | US | 0.482 | 0.463 | 0.055 | 0
VA | US | 0.482 | 0.463 | 0.055 | 0
WV | US | 0.482 | 0.463 | 0.055 | 0
WI | US | 0.482 | 0.463 | 0.055 | 0
WY | US | 0.482 | 0.463 | 0.055 | 0
DC | US | 0.482 | 0.463 | 0.055 | 0
PR | US | 0.05 | 0.88 | 0.02 | 0.05
VI | US | 0.05 | 0.88 | 0.02 | 0.05
Used when water-heating = "Don't know". Lifecycle factors. CA weights: NRCan Table 34 (2023). US weights: RECS 2020. HPWH ~0 (folded into electric).